## Financial Model BASE
Financial Model - BP
Manufacturing Industries and Energy Communities STEP 1
Inputs
Inputs from MESS
| Heat Delivered from DH to X1 | 66458.514 | kWh/y
| Heat Delivered from DH to X2 | 63330.169 | kWh/y
| Heat Delivered from DH to X3 | 180689.935 | kWh/y
| Total Heat Delivered from DH | 310478.618 | kWh/y
Financial Data Industry |  |  |  | Source
| Cost of Equity | 10.7% |  | Damodoran
| Cost of Debt | 6.05% |  | Damodoran
| E/V | 73.53% |  | Damodoran
| D/V | 26.47% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 9.085% | per year
| Corporate Tax Rate | 24%
Financial Data DH Operator |  |  |  | Source
| Cost of Equity | 8.94% |  | Damodoran
| Cost of Debt | 5.75% |  | Damodoran
| E/V | 52.65% |  | Damodoran
| D/V | 47.35% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 6.776% | per year
| Corporate Tax Rate | 24%
General Input Data |  |  |  | Source
| Lifetime | 10 | years
| Needed Installed Capacity | 72.3322 | kW
| Installed Capacity Heat Exchanger | 94 | kW
| Installed Capacity Heat Exchanger | 90 | kW
| Full Load Hours | 6132 | hours/year
| Heat Delivered to Energy Community | 310478.618 | kWh/year
| Heat Production | 443.5409 | MWh/year
CAPEX & OPEX Data |  |  |  | Source
| Total CAPEX | 310 | €/kW
| - o/w Heat Exchanger | 90 | €/kW | Saini et al.
| - o/w Mechanical and Hydraulic Connection | 105 | €/kW
| - o/w Power Supply | 45 | €/kW
| - o/w Cabling | 35 | €/kW
| - o/w Commissioning | 35 | €/kW
| Contingencies | 10% | -
| Total CAPEX | 30.69 | k€
| Original Cost of Grid Connection & Heat Transport | 10 | k€/year | GSE
| Cost of Grid Connection & Heat Transport | 10 | k€/year | GSE
| Fixed OPEX | 3.5 | €/kW/year | Saini et al.
| OPEX | 2.5 | €/MWh | Saini et al.
Price Data |  |  |  | Source
| Average District Heating Price Year 0 | 0.056096 | €/kWh
| FIP | 0
| Average Electricity Price | 0.304 | €/kWh |  | 0.038889
| Support on Connection Costs | 0%
| Share of Heat to other industries | 30%
| Heat to other industries | 133.0623 | MWh/year
| Price increase to other industries | 0%
| Reduction of Heat Price when selling to DH Operator | 35%
Price Evolution
[5 empty] | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
| Electricity Prices EU | 116.125 | €/MWh | IEA | 281.375 | 116.125 | 82 | 84.875 | 77.9116 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554
| Price Evolution | 304 | €/MWh |  | 304 | 125.4625 | 88.5935 | 91.6997 | 84.1763 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093
| TTF Natural Gas Prices | 37.671 | €/MWh | TTF | 138.075 | 37.671 | 29.66 | 32.3 | 29.65 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155
| Average Heat Price | 56.0959 | €/MWh |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
Scenarios
| FIP VALUE | 15%
| FIC VALUE | 60%
| Scenario Selection | BASE
Calculations Industry
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Revenue
| Heat Price | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat Price to Other Industries | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat to Other Industries | MWh |  |  |  | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623
| Heat To District Heating | MWh |  |  |  | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786
| Power Revenue | k€ |  |  | 0 | 24.8808 | 19.5897 | 21.3334 | 19.5831 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352
| Increase Revenue due to FIP | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenues | k€ |  |  | 0 | 24.8808 | 19.5897 | 21.3334 | 19.5831 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352
OPEX
| O&M Cost | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
| Grid Connection Costs | k€ |  |  | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10
| OPEX | k€ |  |  | -10.329 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 24.8808 | 19.5897 | 21.3334 | 19.5831 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352
| OPEX | k€ |  |  | -10.329 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379
| CAPEX | k€ |  |  | 0: -30.69
| Net Cashflows (Real Flow) | k€ |  |  | -41.019 | 13.443 | 8.1519 | 9.8955 | 8.1453 | 6.4974 | 6.4974 | 6.4974 | 6.4974 | 6.4974 | 6.4974
| Nominal Flow (EBITDA) | k€ |  |  | -41.019 | 13.443 | 8.1519 | 9.8955 | 8.1453 | 6.4974 | 6.4974 | 6.4974 | 6.4974 | 6.4974 | 6.4974
| Depreciation | k€ |  |  | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069
| EBIT (Taxable Income) | k€ |  |  | -44.088 | 10.374 | 5.0829 | 6.8265 | 5.0763 | 3.4284 | 3.4284 | 3.4284 | 3.4284 | 3.4284 | 3.4284
| Payable Taxes | k€ |  |  |  | -2.4898 | -1.2199 | -1.6384 | -1.2183 | -0.82281 | -0.82281 | -0.82281 | -0.82281 | -0.82281 | -0.82281
| Free Cashflows | k€ |  |  | -44.088 | 10.9532 | 6.932 | 8.2572 | 6.927 | 5.6746 | 5.6746 | 5.6746 | 5.6746 | 5.6746 | 5.6746
| Discounted Cashflows | k€ |  |  | -44.088 | 10.041 | 5.8255 | 6.3612 | 4.892 | 3.6738 | 3.3678 | 3.0873 | 2.8302 | 2.5945 | 2.3784
| Cumulated Discounted Cashflow | k€ |  |  | -44.088 | -34.047 | -28.2215 | -21.8603 | -16.9683 | -13.2946 | -9.9267 | -6.8394 | -4.0092 | -1.4147 | 0.96375
[5 empty] | 0.58333 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.59479
NPV
| NPV Function | k€ | 0.96375
| NPV (From Discounted Cashflows) | k€ | 0.96375
5.3857e-05
IRR
| IRR via Goal Seek | % | 9.647%
PB
| Pay Back Time | years | 10.1781
Calculations District Heating Operator
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
OPEX & Costs
| Heat Price | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat acquired from industry | MWh |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Costs of Acquiring Heat | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Grid Connection Costs | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenues
| Heat Price | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat Sold | MWh |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenues from Heat Sold | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Grid Connection Costs | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Power Revenue | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Increase Revenue due to FIP | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenues | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CAPEX | k€ |  |  | 0: 0
| Net Cashflows (Real Flow) | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nominal Flow (EBITDA) | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Depreciation | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EBIT (Taxable Income) | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Payable Taxes | k€ |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Free Cashflows | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Discounted Cashflows | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cumulated Discounted Cashflow | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 0
| NPV (From Discounted Cashflows) | k€ | 0
0
IRR
| IRR via Goal Seek | % | 30.26%
Avg Yearly DCF
| Average yearly DCF | k€ | 0
| DCF/MWh | €/MWh | #DIV/0!

## Financial Model FIP
Financial Model - BP
Manufacturing Industries and Energy Communities STEP 1
Inputs
Inputs from MESS
| Heat Delivered from DH to X1 | 66458.514 | kWh/y
| Heat Delivered from DH to X2 | 63330.169 | kWh/y
| Heat Delivered from DH to X3 | 180689.935 | kWh/y
| Total Heat Delivered from DH | 310478.618 | kWh/y
Financial Data Industry |  |  |  | Source
| Cost of Equity | 10.7% |  | Damodoran
| Cost of Debt | 6.05% |  | Damodoran
| E/V | 73.53% |  | Damodoran
| D/V | 26.47% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 9.085% | per year
| Corporate Tax Rate | 24%
Financial Data DH Operator |  |  |  | Source
| Cost of Equity | 8.94% |  | Damodoran
| Cost of Debt | 5.75% |  | Damodoran
| E/V | 52.65% |  | Damodoran
| D/V | 47.35% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 6.776% | per year
| Corporate Tax Rate | 24%
General Input Data |  |  |  | Source
| Lifetime | 10 | years
| Needed Installed Capacity | 72.3322 | kW
| Installed Capacity Heat Exchanger | 94 | kW
| Installed Capacity Heat Exchanger | 90 | kW
| Full Load Hours | 6132 | hours/year
| Heat Delivered to Energy Community | 310478.618 | kWh/year
| Heat Production | 443.5409 | MWh/year
CAPEX & OPEX Data |  |  |  | Source
| Total CAPEX | 310 | €/kW
| - o/w Heat Exchanger | 90 | €/kW | Saini et al.
| - o/w Mechanical and Hydraulic Connection | 105 | €/kW
| - o/w Power Supply | 45 | €/kW
| - o/w Cabling | 35 | €/kW
| - o/w Commissioning | 35 | €/kW
| Contingencies | 10% | -
| Total CAPEX | 30.69 | k€
| Original Cost of Grid Connection & Heat Transport | 10 | k€/year | GSE
| Cost of Grid Connection & Heat Transport | 10 | k€/year | GSE
| Fixed OPEX | 3.5 | €/kW/year | Saini et al.
| OPEX | 2.5 | €/MWh | Saini et al.
Price Data |  |  |  | Source
| Average District Heating Price Year 0 | 0.056096 | €/kWh
| FIP | 0.15
| Average Electricity Price | 0.304 | €/kWh |  | 0.038889
| Support on Connection Costs | 0%
| Share of Heat to other industries | 30%
| Heat to other industries | 133.0623 | MWh/year
| Price increase to other industries | 0%
| Reduction of Heat Price when selling to DH Operator | 35%
Price Evolution
[5 empty] | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
| Electricity Prices EU | 116.125 | €/MWh | IEA | 281.375 | 116.125 | 82 | 84.875 | 77.9116 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554
| Price Evolution | 304 | €/MWh |  | 304 | 125.4625 | 88.5935 | 91.6997 | 84.1763 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093
| TTF Natural Gas Prices | 37.671 | €/MWh | TTF | 138.075 | 37.671 | 29.66 | 32.3 | 29.65 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155
| Average Heat Price | 56.0959 | €/MWh |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
Scenarios
| FIP VALUE | 15%
| FIC VALUE | 60%
| Scenario Selection | FIP
Calculations Industry
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Revenue
| Heat Price | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat Price to Other Industries | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat to Other Industries | MWh |  |  |  | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623
| Heat To District Heating | MWh |  |  |  | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786
| Power Revenue | k€ |  |  | 0 | 24.8808 | 19.5897 | 21.3334 | 19.5831 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352
| Increase Revenue due to FIP | k€ |  |  | 0 | 2.6125 | 2.0569 | 2.24 | 2.0562 | 1.8832 | 1.8832 | 1.8832 | 1.8832 | 1.8832 | 1.8832
| Revenues | k€ |  |  | 0 | 27.4933 | 21.6467 | 23.5734 | 21.6394 | 19.8184 | 19.8184 | 19.8184 | 19.8184 | 19.8184 | 19.8184
OPEX
| O&M Cost | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
| Grid Connection Costs | k€ |  |  | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10
| OPEX | k€ |  |  | -10.329 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 27.4933 | 21.6467 | 23.5734 | 21.6394 | 19.8184 | 19.8184 | 19.8184 | 19.8184 | 19.8184 | 19.8184
| OPEX | k€ |  |  | -10.329 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379 | -11.4379
| CAPEX | k€ |  |  | 0: -30.69
| Net Cashflows (Real Flow) | k€ |  |  | -41.019 | 16.0555 | 10.2088 | 12.1356 | 10.2015 | 8.3806 | 8.3806 | 8.3806 | 8.3806 | 8.3806 | 8.3806
| Nominal Flow (EBITDA) | k€ |  |  | -41.019 | 16.0555 | 10.2088 | 12.1356 | 10.2015 | 8.3806 | 8.3806 | 8.3806 | 8.3806 | 8.3806 | 8.3806
| Depreciation | k€ |  |  | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069
| EBIT (Taxable Income) | k€ |  |  | -44.088 | 12.9865 | 7.1398 | 9.0666 | 7.1325 | 5.3116 | 5.3116 | 5.3116 | 5.3116 | 5.3116 | 5.3116
| Payable Taxes | k€ |  |  |  | -3.1167 | -1.7136 | -2.176 | -1.7118 | -1.2748 | -1.2748 | -1.2748 | -1.2748 | -1.2748 | -1.2748
| Free Cashflows | k€ |  |  | -44.088 | 12.9387 | 8.4953 | 9.9596 | 8.4897 | 7.1058 | 7.1058 | 7.1058 | 7.1058 | 7.1058 | 7.1058
| Discounted Cashflows | k€ |  |  | -44.088 | 11.8611 | 7.1392 | 7.6727 | 5.9956 | 4.6004 | 4.2172 | 3.866 | 3.544 | 3.2489 | 2.9783
| Cumulated Discounted Cashflow | k€ |  |  | -44.088 | -32.2269 | -25.0877 | -17.415 | -11.4193 | -6.819 | -2.6017 | 1.2643 | 4.8083 | 8.0572 | 11.0356
[5 empty] | 0.58333 | 1 | 1 | 1 | 1 | 1 | 1 | 0.67297 | 0 | 0 | 0
NPV
| NPV Function | k€ | 11.0356
| NPV (From Discounted Cashflows) | k€ | 11.0356
0.00036779
IRR
| IRR via Goal Seek | % | 15.24%
PB
| Pay Back Time | years | 7.2563
Calculations District Heating Operator
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
OPEX & Costs
| Heat Price | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat acquired from industry | MWh |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Costs of Acquiring Heat | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Grid Connection Costs | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenues
| Heat Price | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat Sold | MWh |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenues from Heat Sold | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Grid Connection Costs | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Power Revenue | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Increase Revenue due to FIP | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenues | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CAPEX | k€ |  |  | 0: 0
| Net Cashflows (Real Flow) | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nominal Flow (EBITDA) | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Depreciation | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EBIT (Taxable Income) | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Payable Taxes | k€ |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Free Cashflows | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Discounted Cashflows | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cumulated Discounted Cashflow | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 0
| NPV (From Discounted Cashflows) | k€ | 0
0
IRR
| IRR via Goal Seek | % | 30.26%
Avg Yearly DCF
| Average yearly DCF | k€ | 0
| DCF/MWh | €/MWh | #DIV/0!

## Financial Model FIC
Financial Model - BP
Manufacturing Industries and Energy Communities STEP 1
Inputs
Inputs from MESS
| Heat Delivered from DH to X1 | 66458.514 | kWh/y
| Heat Delivered from DH to X2 | 63330.169 | kWh/y
| Heat Delivered from DH to X3 | 180689.935 | kWh/y
| Total Heat Delivered from DH | 310478.618 | kWh/y
Financial Data Industry |  |  |  | Source
| Cost of Equity | 10.7% |  | Damodoran
| Cost of Debt | 6.05% |  | Damodoran
| E/V | 73.53% |  | Damodoran
| D/V | 26.47% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 9.085% | per year
| Corporate Tax Rate | 24%
Financial Data DH Operator |  |  |  | Source
| Cost of Equity | 8.94% |  | Damodoran
| Cost of Debt | 5.75% |  | Damodoran
| E/V | 52.65% |  | Damodoran
| D/V | 47.35% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 6.776% | per year
| Corporate Tax Rate | 24%
General Input Data |  |  |  | Source
| Lifetime | 10 | years
| Needed Installed Capacity | 72.3322 | kW
| Installed Capacity Heat Exchanger | 94 | kW
| Installed Capacity Heat Exchanger | 90 | kW
| Full Load Hours | 6132 | hours/year
| Heat Delivered to Energy Community | 310478.618 | kWh/year
| Heat Production | 443.5409 | MWh/year
CAPEX & OPEX Data |  |  |  | Source
| Total CAPEX | 310 | €/kW
| - o/w Heat Exchanger | 90 | €/kW | Saini et al.
| - o/w Mechanical and Hydraulic Connection | 105 | €/kW
| - o/w Power Supply | 45 | €/kW
| - o/w Cabling | 35 | €/kW
| - o/w Commissioning | 35 | €/kW
| Contingencies | 10% | -
| Total CAPEX | 30.69 | k€
| Original Cost of Grid Connection & Heat Transport | 10 | k€/year | GSE
| Cost of Grid Connection & Heat Transport | 0 | k€/year | GSE
| Fixed OPEX | 3.5 | €/kW/year | Saini et al.
| OPEX | 2.5 | €/MWh | Saini et al.
Price Data |  |  |  | Source
| Average District Heating Price Year 0 | 0.056096 | €/kWh
| FIP | 0
| Average Electricity Price | 0.304 | €/kWh |  | 0.038889
| Support on Connection Costs | 60%
| Share of Heat to other industries | 30%
| Heat to other industries | 133.0623 | MWh/year
| Price increase to other industries | 0%
| Reduction of Heat Price when selling to DH Operator | 35%
Price Evolution
[5 empty] | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
| Electricity Prices EU | 116.125 | €/MWh | IEA | 281.375 | 116.125 | 82 | 84.875 | 77.9116 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554
| Price Evolution | 304 | €/MWh |  | 304 | 125.4625 | 88.5935 | 91.6997 | 84.1763 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093
| TTF Natural Gas Prices | 37.671 | €/MWh | TTF | 138.075 | 37.671 | 29.66 | 32.3 | 29.65 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155
| Average Heat Price | 56.0959 | €/MWh |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
Scenarios
| FIP VALUE | 15%
| FIC VALUE | 60%
| Scenario Selection | FIC
Calculations Industry
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Revenue
| Heat Price | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat Price to Other Industries | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat to Other Industries | MWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat To District Heating | MWh |  |  |  | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Power Revenue | k€ |  |  | 0 | 16.1725 | 12.7333 | 13.8667 | 12.729 | 11.6579 | 11.6579 | 11.6579 | 11.6579 | 11.6579 | 11.6579
| Increase Revenue due to FIP | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenues | k€ |  |  | 0 | 16.1725 | 12.7333 | 13.8667 | 12.729 | 11.6579 | 11.6579 | 11.6579 | 11.6579 | 11.6579 | 11.6579
OPEX
| O&M Cost | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
| Grid Connection Costs | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 16.1725 | 12.7333 | 13.8667 | 12.729 | 11.6579 | 11.6579 | 11.6579 | 11.6579 | 11.6579 | 11.6579
| OPEX | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
| CAPEX | k€ |  |  | 0: -30.69
| Net Cashflows (Real Flow) | k€ |  |  | -31.019 | 14.7347 | 11.2955 | 12.4289 | 11.2912 | 10.2201 | 10.2201 | 10.2201 | 10.2201 | 10.2201 | 10.2201
| Nominal Flow (EBITDA) | k€ |  |  | -31.019 | 14.7347 | 11.2955 | 12.4289 | 11.2912 | 10.2201 | 10.2201 | 10.2201 | 10.2201 | 10.2201 | 10.2201
| Depreciation | k€ |  |  | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069
| EBIT (Taxable Income) | k€ |  |  | -34.088 | 11.6657 | 8.2265 | 9.3599 | 8.2222 | 7.1511 | 7.1511 | 7.1511 | 7.1511 | 7.1511 | 7.1511
| Payable Taxes | k€ |  |  |  | -2.7998 | -1.9744 | -2.2464 | -1.9733 | -1.7163 | -1.7163 | -1.7163 | -1.7163 | -1.7163 | -1.7163
| Free Cashflows | k€ |  |  | -34.088 | 11.9349 | 9.3211 | 10.1825 | 9.3179 | 8.5038 | 8.5038 | 8.5038 | 8.5038 | 8.5038 | 8.5038
| Discounted Cashflows | k€ |  |  | -34.088 | 10.941 | 7.8332 | 7.8444 | 6.5805 | 5.5054 | 5.0469 | 4.6266 | 4.2413 | 3.8881 | 3.5643
| Cumulated Discounted Cashflow | k€ |  |  | -34.088 | -23.147 | -15.3138 | -7.4694 | -0.8889 | 4.6165 | 9.6635 | 14.2901 | 18.5314 | 22.4195 | 25.9837
[5 empty] | 0.58333 | 1 | 1 | 1 | 1 | 0.16146 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 25.9837
| NPV (From Discounted Cashflows) | k€ | 25.9837
0.00065701
IRR
| IRR via Goal Seek | % | 25.76%
PB
| Pay Back Time | years | 4.7448
Calculations District Heating Operator
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
OPEX & Costs
| Heat Price | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat acquired from industry | MWh |  |  | 0 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Total Costs of Acquiring Heat | k€ |  |  | 0 | -16.1725 | -12.7333 | -13.8667 | -12.729 | -11.6579 | -11.6579 | -11.6579 | -11.6579 | -11.6579 | -11.6579
| OPEX | k€ |  |  | 0 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089
| Grid Connection Costs | k€ |  |  | 0 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10
| OPEX | k€ |  |  | 0 | -27.2814 | -23.8422 | -24.9756 | -23.8379 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668
Revenues
| Heat Price | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat Sold | MWh |  |  | 0 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Revenues from Heat Sold | k€ |  |  | 0 | 24.8808 | 19.5897 | 21.3334 | 19.5831 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352
| Grid Connection Costs | k€ |  |  | 0 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
| Power Revenue | k€ |  |  | 0 | 30.8808 | 25.5897 | 27.3334 | 25.5831 | 23.9352 | 23.9352 | 23.9352 | 23.9352 | 23.9352 | 23.9352
| Increase Revenue due to FIP | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Revenues | k€ |  |  | 0 | 30.8808 | 25.5897 | 27.3334 | 25.5831 | 23.9352 | 23.9352 | 23.9352 | 23.9352 | 23.9352 | 23.9352
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 30.8808 | 25.5897 | 27.3334 | 25.5831 | 23.9352 | 23.9352 | 23.9352 | 23.9352 | 23.9352 | 23.9352
| OPEX | k€ |  |  | 0 | -27.2814 | -23.8422 | -24.9756 | -23.8379 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668
| CAPEX | k€ |  |  | 0: 0
| Net Cashflows (Real Flow) | k€ |  |  | 0 | 3.5994 | 1.7476 | 2.3578 | 1.7452 | 1.1685 | 1.1685 | 1.1685 | 1.1685 | 1.1685 | 1.1685
| Nominal Flow (EBITDA) | k€ |  |  | 0 | 3.5994 | 1.7476 | 2.3578 | 1.7452 | 1.1685 | 1.1685 | 1.1685 | 1.1685 | 1.1685 | 1.1685
| Depreciation | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EBIT (Taxable Income) | k€ |  |  | 0 | 3.5994 | 1.7476 | 2.3578 | 1.7452 | 1.1685 | 1.1685 | 1.1685 | 1.1685 | 1.1685 | 1.1685
| Payable Taxes | k€ |  |  |  | -0.86386 | -0.41941 | -0.56588 | -0.41886 | -0.28044 | -0.28044 | -0.28044 | -0.28044 | -0.28044 | -0.28044
| Free Cashflows | k€ |  |  | 0 | 2.7356 | 1.3281 | 1.792 | 1.3264 | 0.88805 | 0.88805 | 0.88805 | 0.88805 | 0.88805 | 0.88805
| Discounted Cashflows | k€ |  |  | 0 | 2.5077 | 1.1161 | 1.3805 | 0.93673 | 0.57493 | 0.52705 | 0.48316 | 0.44292 | 0.40603 | 0.37222
| Cumulated Discounted Cashflow | k€ |  |  | 0 | 2.5077 | 3.6239 | 5.0044 | 5.9411 | 6.516 | 7.0431 | 7.5262 | 7.9692 | 8.3752 | 8.7474
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 12.5103
| NPV (From Discounted Cashflows) | k€ | 8.7474
4.9654
IRR
| IRR via Goal Seek | % | 30.26%
Avg Yearly DCF
| Average yearly DCF | k€ | 0.87474
| DCF/MWh | €/MWh | 1.9722

## Financial Model COMBO
Financial Model - BP
Manufacturing Industries and Energy Communities STEP 1
Inputs
Inputs from MESS
| Heat Delivered from DH to X1 | 66458.514 | kWh/y
| Heat Delivered from DH to X2 | 63330.169 | kWh/y
| Heat Delivered from DH to X3 | 180689.935 | kWh/y
| Total Heat Delivered from DH | 310478.618 | kWh/y
Financial Data Industry |  |  |  | Source
| Cost of Equity | 10.7% |  | Damodoran
| Cost of Debt | 6.05% |  | Damodoran
| E/V | 73.53% |  | Damodoran
| D/V | 26.47% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 9.085% | per year
| Corporate Tax Rate | 24%
Financial Data DH Operator |  |  |  | Source
| Cost of Equity | 8.94% |  | Damodoran
| Cost of Debt | 5.75% |  | Damodoran
| E/V | 52.65% |  | Damodoran
| D/V | 47.35% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 6.776% | per year
| Corporate Tax Rate | 24%
General Input Data |  |  |  | Source
| Lifetime | 10 | years
| Needed Installed Capacity | 72.3322 | kW
| Installed Capacity Heat Exchanger | 94 | kW
| Installed Capacity Heat Exchanger | 90 | kW
| Full Load Hours | 6132 | hours/year
| Heat Delivered to Energy Community | 310478.618 | kWh/year
| Heat Production | 443.5409 | MWh/year
CAPEX & OPEX Data |  |  |  | Source
| Total CAPEX | 310 | €/kW
| - o/w Heat Exchanger | 90 | €/kW | Saini et al.
| - o/w Mechanical and Hydraulic Connection | 105 | €/kW
| - o/w Power Supply | 45 | €/kW
| - o/w Cabling | 35 | €/kW
| - o/w Commissioning | 35 | €/kW
| Contingencies | 10% | -
| Total CAPEX | 30.69 | k€
| Original Cost of Grid Connection & Heat Transport | 10 | k€/year | GSE
| Cost of Grid Connection & Heat Transport | 0 | k€/year | GSE
| Fixed OPEX | 3.5 | €/kW/year | Saini et al.
| OPEX | 2.5 | €/MWh | Saini et al.
Price Data |  |  |  | Source
| Average District Heating Price Year 0 | 0.056096 | €/kWh
| FIP | 0.15
| Average Electricity Price | 0.304 | €/kWh |  | 0.038889
| Support on Connection Costs | 60%
| Share of Heat to other industries | 30%
| Heat to other industries | 133.0623 | MWh/year
| Price increase to other industries | 0%
| Reduction of Heat Price when selling to DH Operator | 35%
Price Evolution
[5 empty] | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
| Electricity Prices EU | 116.125 | €/MWh | IEA | 281.375 | 116.125 | 82 | 84.875 | 77.9116 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554
| Price Evolution | 304 | €/MWh |  | 304 | 125.4625 | 88.5935 | 91.6997 | 84.1763 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093
| TTF Natural Gas Prices | 37.671 | €/MWh | TTF | 138.075 | 37.671 | 29.66 | 32.3 | 29.65 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155
| Average Heat Price | 56.0959 | €/MWh |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
Scenarios
| FIP VALUE | 15%
| FIC VALUE | 60%
| Scenario Selection | COMBO
Calculations Industry
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Revenue
| Heat Price | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat Price to Other Industries | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat to Other Industries | MWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat To District Heating | MWh |  |  |  | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Power Revenue | k€ |  |  | 0 | 16.1725 | 12.7333 | 13.8667 | 12.729 | 11.6579 | 11.6579 | 11.6579 | 11.6579 | 11.6579 | 11.6579
| Increase Revenue due to FIP | k€ |  |  | 0 | 3.7321 | 2.9385 | 3.2 | 2.9375 | 2.6903 | 2.6903 | 2.6903 | 2.6903 | 2.6903 | 2.6903
| Revenues | k€ |  |  | 0 | 19.9047 | 15.6718 | 17.0667 | 15.6665 | 14.3482 | 14.3482 | 14.3482 | 14.3482 | 14.3482 | 14.3482
OPEX
| O&M Cost | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
| Grid Connection Costs | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 19.9047 | 15.6718 | 17.0667 | 15.6665 | 14.3482 | 14.3482 | 14.3482 | 14.3482 | 14.3482 | 14.3482
| OPEX | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
| CAPEX | k€ |  |  | 0: -30.69
| Net Cashflows (Real Flow) | k€ |  |  | -31.019 | 18.4668 | 14.2339 | 15.6289 | 14.2287 | 12.9103 | 12.9103 | 12.9103 | 12.9103 | 12.9103 | 12.9103
| Nominal Flow (EBITDA) | k€ |  |  | -31.019 | 18.4668 | 14.2339 | 15.6289 | 14.2287 | 12.9103 | 12.9103 | 12.9103 | 12.9103 | 12.9103 | 12.9103
| Depreciation | k€ |  |  | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069
| EBIT (Taxable Income) | k€ |  |  | -34.088 | 15.3978 | 11.1649 | 12.5599 | 11.1597 | 9.8413 | 9.8413 | 9.8413 | 9.8413 | 9.8413 | 9.8413
| Payable Taxes | k€ |  |  |  | -3.6955 | -2.6796 | -3.0144 | -2.6783 | -2.3619 | -2.3619 | -2.3619 | -2.3619 | -2.3619 | -2.3619
| Free Cashflows | k€ |  |  | -34.088 | 14.7713 | 11.5544 | 12.6145 | 11.5503 | 10.5484 | 10.5484 | 10.5484 | 10.5484 | 10.5484 | 10.5484
| Discounted Cashflows | k€ |  |  | -34.088 | 13.5411 | 9.71 | 9.718 | 8.1571 | 6.8291 | 6.2604 | 5.739 | 5.2611 | 4.8229 | 4.4213
| Cumulated Discounted Cashflow | k€ |  |  | -34.088 | -20.5469 | -10.8369 | -1.1189 | 7.0382 | 13.8674 | 20.1278 | 25.8668 | 31.1279 | 35.9508 | 40.372
[5 empty] | 0.58333 | 1 | 1 | 1 | 0.13717 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 40.372
| NPV (From Discounted Cashflows) | k€ | 40.372
0.0007589
IRR
| IRR via Goal Seek | % | 34.19%
PB
| Pay Back Time | years | 3.7205
Calculations District Heating Operator
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
OPEX & Costs
| Heat Price | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat acquired from industry | MWh |  |  | 0 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Total Costs of Acquiring Heat | k€ |  |  | 0 | -16.1725 | -12.7333 | -13.8667 | -12.729 | -11.6579 | -11.6579 | -11.6579 | -11.6579 | -11.6579 | -11.6579
| OPEX | k€ |  |  | 0 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089
| Grid Connection Costs | k€ |  |  | 0 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10
| OPEX | k€ |  |  | 0 | -27.2814 | -23.8422 | -24.9756 | -23.8379 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668
Revenues
| Heat Price | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat Sold | MWh |  |  | 0 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Revenues from Heat Sold | k€ |  |  | 0 | 24.8808 | 19.5897 | 21.3334 | 19.5831 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352
| Grid Connection Costs | k€ |  |  | 0 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
| Power Revenue | k€ |  |  | 0 | 30.8808 | 25.5897 | 27.3334 | 25.5831 | 23.9352 | 23.9352 | 23.9352 | 23.9352 | 23.9352 | 23.9352
| Increase Revenue due to FIP | k€ |  |  | 0 | 3.7321 | 2.9385 | 3.2 | 2.9375 | 2.6903 | 2.6903 | 2.6903 | 2.6903 | 2.6903 | 2.6903
| Revenues | k€ |  |  | 0 | 34.6129 | 28.5282 | 30.5334 | 28.5206 | 26.6255 | 26.6255 | 26.6255 | 26.6255 | 26.6255 | 26.6255
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 34.6129 | 28.5282 | 30.5334 | 28.5206 | 26.6255 | 26.6255 | 26.6255 | 26.6255 | 26.6255 | 26.6255
| OPEX | k€ |  |  | 0 | -27.2814 | -23.8422 | -24.9756 | -23.8379 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668
| CAPEX | k€ |  |  | 0: 0
| Net Cashflows (Real Flow) | k€ |  |  | 0 | 7.3316 | 4.686 | 5.5578 | 4.6827 | 3.8588 | 3.8588 | 3.8588 | 3.8588 | 3.8588 | 3.8588
| Nominal Flow (EBITDA) | k€ |  |  | 0 | 7.3316 | 4.686 | 5.5578 | 4.6827 | 3.8588 | 3.8588 | 3.8588 | 3.8588 | 3.8588 | 3.8588
| Depreciation | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EBIT (Taxable Income) | k€ |  |  | 0 | 7.3316 | 4.686 | 5.5578 | 4.6827 | 3.8588 | 3.8588 | 3.8588 | 3.8588 | 3.8588 | 3.8588
| Payable Taxes | k€ |  |  |  | -1.7596 | -1.1246 | -1.3339 | -1.1239 | -0.92611 | -0.92611 | -0.92611 | -0.92611 | -0.92611 | -0.92611
| Free Cashflows | k€ |  |  | 0 | 5.572 | 3.5614 | 4.224 | 3.5589 | 2.9327 | 2.9327 | 2.9327 | 2.9327 | 2.9327 | 2.9327
| Discounted Cashflows | k€ |  |  | 0 | 5.1079 | 2.9929 | 3.2541 | 2.5134 | 1.8986 | 1.7405 | 1.5956 | 1.4627 | 1.3409 | 1.2292
| Cumulated Discounted Cashflow | k€ |  |  | 0 | 5.1079 | 8.1008 | 11.3549 | 13.8683 | 15.7669 | 17.5074 | 19.103 | 20.5656 | 21.9065 | 23.1357
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 34.5122
| NPV (From Discounted Cashflows) | k€ | 23.1357
12.202
IRR
| IRR via Goal Seek | % | 30.26%
Avg Yearly DCF
| Average yearly DCF | k€ | 2.3136
| DCF/MWh | €/MWh | 5.2161
156.417

## Sensitivity
Financial Model - BP
Manufacturing Industries and Energy Communities STEP 1
Inputs
Inputs from MESS
| Heat Delivered from DH to X1 | 66458.514 | kWh/y
| Heat Delivered from DH to X2 | 63330.169 | kWh/y
| Heat Delivered from DH to X3 | 180689.935 | kWh/y
| Total Heat Delivered from DH | 310478.618 | kWh/y
Financial Data Industry |  |  |  | Source
| Cost of Equity | 10.7% |  | Damodoran
| Cost of Debt | 6.05% |  | Damodoran
| E/V | 73.53% |  | Damodoran
| D/V | 26.47% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 9.085% | per year
| Corporate Tax Rate | 24%
Financial Data DH Operator |  |  |  | Source
| Cost of Equity | 8.94% |  | Damodoran
| Cost of Debt | 5.75% |  | Damodoran
| E/V | 52.65% |  | Damodoran
| D/V | 47.35% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 6.776% | per year
| Corporate Tax Rate | 24%
General Input Data |  |  |  | Source
| Lifetime | 10 | years
| Needed Installed Capacity | 72.3322 | kW
| Installed Capacity Heat Exchanger | 94 | kW
| Installed Capacity Heat Exchanger | 90 | kW
| Full Load Hours | 6132 | hours/year
| Heat Delivered to Energy Community | 310478.618 | kWh/year
| Heat Production | 443.5409 | MWh/year
CAPEX & OPEX Data |  |  |  | Source
| Total CAPEX | 310 | €/kW
| - o/w Heat Exchanger | 90 | €/kW | Saini et al.
| - o/w Mechanical and Hydraulic Connection | 105 | €/kW
| - o/w Power Supply | 45 | €/kW
| - o/w Cabling | 35 | €/kW
| - o/w Commissioning | 35 | €/kW
| Contingencies | 10% | -
| Total CAPEX | 30.69 | k€
| Original Cost of Grid Connection & Heat Transport | 10 | k€/year | GSE
| Cost of Grid Connection & Heat Transport | 0 | k€/year | GSE
| Fixed OPEX | 3.5 | €/kW/year | Saini et al.
| OPEX | 2.5 | €/MWh | Saini et al.
Price Data |  |  |  | Source
| Average District Heating Price Year 0 | 0.056096 | €/kWh
| FIP | 0.25
| Average Electricity Price | 0.304 | €/kWh |  | 0.038889
| Support on Connection Costs | 60%
| Share of Heat to other industries | 30%
| Heat to other industries | 133.0623 | MWh/year
| Price increase to other industries | 0%
| Reduction of Heat Price when selling to DH Operator | 35%
Price Evolution
[5 empty] | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
| Electricity Prices EU | 116.125 | €/MWh | IEA | 281.375 | 116.125 | 82 | 84.875 | 77.9116 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554
| Price Evolution | 304 | €/MWh |  | 304 | 125.4625 | 88.5935 | 91.6997 | 84.1763 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093
| TTF Natural Gas Prices | 37.671 | €/MWh | TTF | 138.075 | 37.671 | 29.66 | 32.3 | 29.65 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155
| Average Heat Price | 56.0959 | €/MWh |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
Scenarios
| FIP VALUE | 25%
| FIC VALUE | 60%
| Scenario Selection | COMBO
Calculations Industry
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Revenue
| Heat Price | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat Price to Other Industries | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat to Other Industries | MWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat To District Heating | MWh |  |  |  | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Power Revenue | k€ |  |  | 0 | 16.1725 | 12.7333 | 13.8667 | 12.729 | 11.6579 | 11.6579 | 11.6579 | 11.6579 | 11.6579 | 11.6579
| Increase Revenue due to FIP | k€ |  |  | 0 | 6.2202 | 4.8974 | 5.3333 | 4.8958 | 4.4838 | 4.4838 | 4.4838 | 4.4838 | 4.4838 | 4.4838
| Revenues | k€ |  |  | 0 | 22.3927 | 17.6308 | 19.2001 | 17.6248 | 16.1417 | 16.1417 | 16.1417 | 16.1417 | 16.1417 | 16.1417
OPEX
| O&M Cost | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
| Grid Connection Costs | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 22.3927 | 17.6308 | 19.2001 | 17.6248 | 16.1417 | 16.1417 | 16.1417 | 16.1417 | 16.1417 | 16.1417
| OPEX | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
| CAPEX | k€ |  |  | 0: -30.69
| Net Cashflows (Real Flow) | k€ |  |  | -31.019 | 20.9549 | 16.1929 | 17.7622 | 16.187 | 14.7039 | 14.7039 | 14.7039 | 14.7039 | 14.7039 | 14.7039
| Nominal Flow (EBITDA) | k€ |  |  | -31.019 | 20.9549 | 16.1929 | 17.7622 | 16.187 | 14.7039 | 14.7039 | 14.7039 | 14.7039 | 14.7039 | 14.7039
| Depreciation | k€ |  |  | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069
| EBIT (Taxable Income) | k€ |  |  | -34.088 | 17.8859 | 13.1239 | 14.6932 | 13.118 | 11.6349 | 11.6349 | 11.6349 | 11.6349 | 11.6349 | 11.6349
| Payable Taxes | k€ |  |  |  | -4.2926 | -3.1497 | -3.5264 | -3.1483 | -2.7924 | -2.7924 | -2.7924 | -2.7924 | -2.7924 | -2.7924
| Free Cashflows | k€ |  |  | -34.088 | 16.6623 | 13.0432 | 14.2358 | 13.0387 | 11.9115 | 11.9115 | 11.9115 | 11.9115 | 11.9115 | 11.9115
| Discounted Cashflows | k€ |  |  | -34.088 | 15.2746 | 10.9611 | 10.9671 | 9.2082 | 7.7116 | 7.0694 | 6.4806 | 5.9409 | 5.4461 | 4.9926
| Cumulated Discounted Cashflow | k€ |  |  | -34.088 | -18.8134 | -7.8523 | 3.1148 | 12.323 | 20.0346 | 27.104 | 33.5846 | 39.5255 | 44.9717 | 49.9642
[5 empty] | 0.58333 | 1 | 1 | 0.71599 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 49.9642
| NPV (From Discounted Cashflows) | k€ | 49.9642
4.3852
IRR
| IRR via Goal Seek | % | 34.19%
PB
| Pay Back Time | years | 3.2993
Calculations District Heating Operator
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
OPEX & Costs
| Heat Price | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat acquired from industry | MWh |  |  | 0 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Total Costs of Acquiring Heat | k€ |  |  | 0 | -16.1725 | -12.7333 | -13.8667 | -12.729 | -11.6579 | -11.6579 | -11.6579 | -11.6579 | -11.6579 | -11.6579
| OPEX | k€ |  |  | 0 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089
| Grid Connection Costs | k€ |  |  | 0 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10
| OPEX | k€ |  |  | 0 | -27.2814 | -23.8422 | -24.9756 | -23.8379 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668
Revenues
| Heat Price | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat Sold | MWh |  |  | 0 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Revenues from Heat Sold | k€ |  |  | 0 | 24.8808 | 19.5897 | 21.3334 | 19.5831 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352 | 17.9352
| Grid Connection Costs | k€ |  |  | 0 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
| Power Revenue | k€ |  |  | 0 | 30.8808 | 25.5897 | 27.3334 | 25.5831 | 23.9352 | 23.9352 | 23.9352 | 23.9352 | 23.9352 | 23.9352
| Increase Revenue due to FIP | k€ |  |  | 0 | 6.2202 | 4.8974 | 5.3333 | 4.8958 | 4.4838 | 4.4838 | 4.4838 | 4.4838 | 4.4838 | 4.4838
| Revenues | k€ |  |  | 0 | 37.101 | 30.4872 | 32.6667 | 30.4789 | 28.4191 | 28.4191 | 28.4191 | 28.4191 | 28.4191 | 28.4191
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 37.101 | 30.4872 | 32.6667 | 30.4789 | 28.4191 | 28.4191 | 28.4191 | 28.4191 | 28.4191 | 28.4191
| OPEX | k€ |  |  | 0 | -27.2814 | -23.8422 | -24.9756 | -23.8379 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668 | -22.7668
| CAPEX | k€ |  |  | 0: 0
| Net Cashflows (Real Flow) | k€ |  |  | 0 | 9.8196 | 6.645 | 7.6912 | 6.641 | 5.6523 | 5.6523 | 5.6523 | 5.6523 | 5.6523 | 5.6523
| Nominal Flow (EBITDA) | k€ |  |  | 0 | 9.8196 | 6.645 | 7.6912 | 6.641 | 5.6523 | 5.6523 | 5.6523 | 5.6523 | 5.6523 | 5.6523
| Depreciation | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EBIT (Taxable Income) | k€ |  |  | 0 | 9.8196 | 6.645 | 7.6912 | 6.641 | 5.6523 | 5.6523 | 5.6523 | 5.6523 | 5.6523 | 5.6523
| Payable Taxes | k€ |  |  |  | -2.3567 | -1.5948 | -1.8459 | -1.5938 | -1.3566 | -1.3566 | -1.3566 | -1.3566 | -1.3566 | -1.3566
| Free Cashflows | k€ |  |  | 0 | 7.4629 | 5.0502 | 5.8453 | 5.0472 | 4.2957 | 4.2957 | 4.2957 | 4.2957 | 4.2957 | 4.2957
| Discounted Cashflows | k€ |  |  | 0 | 6.8414 | 4.244 | 4.5031 | 3.5644 | 2.7811 | 2.5495 | 2.3372 | 2.1425 | 1.9641 | 1.8005
| Cumulated Discounted Cashflow | k€ |  |  | 0 | 6.8414 | 11.0854 | 15.5886 | 19.153 | 21.9341 | 24.4836 | 26.8208 | 28.9633 | 30.9274 | 32.7279
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 49.1801
| NPV (From Discounted Cashflows) | k€ | 32.7279
17.0265
IRR
| IRR via Goal Seek | % | 30.26%
Avg Yearly DCF
| Average yearly DCF | k€ | 3.2728
| DCF/MWh | €/MWh | 7.3788

## Financial Model Scalability
Financial Model - BP
Manufacturing Industries and Energy Communities STEP 1
Inputs
Inputs from MESS
| Heat Delivered from DH to X1 | 66458.514 | kWh/y
| Heat Delivered from DH to X2 | 63330.169 | kWh/y
| Heat Delivered from DH to X3 | 180689.935 | kWh/y
| Total Heat Delivered from DH | 310478.618 | kWh/y
Financial Data Industry |  |  |  | Source
| Cost of Equity | 10.7% |  | Damodoran
| Cost of Debt | 6.05% |  | Damodoran
| E/V | 73.53% |  | Damodoran
| D/V | 26.47% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 9.085% | per year
| Corporate Tax Rate | 24%
Financial Data DH Operator |  |  |  | Source
| Cost of Equity | 8.94% |  | Damodoran
| Cost of Debt | 5.75% |  | Damodoran
| E/V | 52.65% |  | Damodoran
| D/V | 47.35% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 6.776% | per year
| Corporate Tax Rate | 24%
General Input Data |  |  |  | Source
| Lifetime | 10 | years
| Needed Installed Capacity | 8504.5662 | kW
| Installed Capacity Heat Exchanger | 11056 | kW
| Installed Capacity Heat Exchanger | 11060 | kW
| Full Load Hours | 6132 | hours/year
| Heat Delivered to Energy Community | 310478.618 | kWh/year
| Heat Production | 52150 | MWh/year
CAPEX & OPEX Data |  |  |  | Source
| Total CAPEX | 310 | €/kW
| - o/w Heat Exchanger | 90 | €/kW | Saini et al.
| - o/w Mechanical and Hydraulic Connection | 105 | €/kW
| - o/w Power Supply | 45 | €/kW
| - o/w Cabling | 35 | €/kW
| - o/w Commissioning | 35 | €/kW
| Contingencies | 10% | -
| Total CAPEX | 3771.46 | k€
| Original Cost of Grid Connection & Heat Transport | 10 | k€/year | GSE
| Cost of Grid Connection & Heat Transport | 0 | k€/year | GSE
| Fixed OPEX | 3.5 | €/kW/year | Saini et al.
| OPEX | 2.5 | €/MWh | Saini et al.
Price Data |  |  |  | Source
| Average District Heating Price Year 0 | 0.056096 | €/kWh
| FIP | 0.15
| Average Electricity Price | 0.304 | €/kWh |  | 0.038889
| Support on Connection Costs | 60%
| Share of Heat to other industries | 30%
| Heat to other industries | 15645 | MWh/year
| Price increase to other industries | 0%
| Reduction of Heat Price when selling to DH Operator | 35%
Price Evolution
[5 empty] | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
| Electricity Prices EU | 116.125 | €/MWh | IEA | 281.375 | 116.125 | 82 | 84.875 | 77.9116 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554
| Price Evolution | 304 | €/MWh |  | 304 | 125.4625 | 88.5935 | 91.6997 | 84.1763 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093
| TTF Natural Gas Prices | 37.671 | €/MWh | TTF | 138.075 | 37.671 | 29.66 | 32.3 | 29.65 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155
| Average Heat Price | 56.0959 | €/MWh |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
Scenarios
| FIP VALUE | 15%
| FIC VALUE | 60%
| Scenario Selection | COMBO
Calculations Industry
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Revenue
| Heat Price | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat Price to Other Industries | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat to Other Industries | MWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat To District Heating | MWh |  |  |  | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150
| Power Revenue | k€ |  |  | 0 | 1901.5104 | 1497.141 | 1630.3997 | 1496.6363 | 1370.6967 | 1370.6967 | 1370.6967 | 1370.6967 | 1370.6967 | 1370.6967
| Increase Revenue due to FIP | k€ |  |  | 0 | 438.8101 | 345.4941 | 376.2461 | 345.3776 | 316.3146 | 316.3146 | 316.3146 | 316.3146 | 316.3146 | 316.3146
| Revenues | k€ |  |  | 0 | 2340.3205 | 1842.6351 | 2006.6458 | 1842.0139 | 1687.0113 | 1687.0113 | 1687.0113 | 1687.0113 | 1687.0113 | 1687.0113
OPEX
| O&M Cost | k€ |  |  | -38.696 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071
| Grid Connection Costs | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | -38.696 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 2340.3205 | 1842.6351 | 2006.6458 | 1842.0139 | 1687.0113 | 1687.0113 | 1687.0113 | 1687.0113 | 1687.0113 | 1687.0113
| OPEX | k€ |  |  | -38.696 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071 | -169.071
| CAPEX | k€ |  |  | 0: -3771.46
| Net Cashflows (Real Flow) | k€ |  |  | -3810.156 | 2171.2495 | 1673.5641 | 1837.5748 | 1672.9429 | 1517.9403 | 1517.9403 | 1517.9403 | 1517.9403 | 1517.9403 | 1517.9403
| Nominal Flow (EBITDA) | k€ |  |  | -3810.156 | 2171.2495 | 1673.5641 | 1837.5748 | 1672.9429 | 1517.9403 | 1517.9403 | 1517.9403 | 1517.9403 | 1517.9403 | 1517.9403
| Depreciation | k€ |  |  | -377.146 | -377.146 | -377.146 | -377.146 | -377.146 | -377.146 | -377.146 | -377.146 | -377.146 | -377.146 | -377.146
| EBIT (Taxable Income) | k€ |  |  | -4187.302 | 1794.1035 | 1296.4181 | 1460.4288 | 1295.7969 | 1140.7943 | 1140.7943 | 1140.7943 | 1140.7943 | 1140.7943 | 1140.7943
| Payable Taxes | k€ |  |  |  | -430.5849 | -311.1403 | -350.5029 | -310.9912 | -273.7906 | -273.7906 | -273.7906 | -273.7906 | -273.7906 | -273.7906
| Free Cashflows | k€ |  |  | -4187.302 | 1740.6647 | 1362.4238 | 1487.0719 | 1361.9516 | 1244.1497 | 1244.1497 | 1244.1497 | 1244.1497 | 1244.1497 | 1244.1497
| Discounted Cashflows | k€ |  |  | -4187.302 | 1595.6987 | 1144.9426 | 1145.6164 | 961.8442 | 805.4738 | 738.3923 | 676.8976 | 620.5242 | 568.8457 | 521.4711
| Cumulated Discounted Cashflow | k€ |  |  | -4187.302 | -2591.6033 | -1446.6607 | -301.0443 | 660.7999 | 1466.2737 | 2204.6661 | 2881.5636 | 3502.0878 | 4070.9335 | 4592.4045
[5 empty] | 0.58333 | 1 | 1 | 1 | 0.31299 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 4592.4045
| NPV (From Discounted Cashflows) | k€ | 4592.4045
-168.4532
IRR
| IRR via Goal Seek | % | 34.19%
PB
| Pay Back Time | years | 3.8963
Calculations District Heating Operator
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
OPEX & Costs
| Heat Price | €/MWh |  |  | 36.4623 | 36.4623 | 28.7084 | 31.2637 | 28.6987 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837 | 26.2837
| Heat acquired from industry | MWh |  |  | 0 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150
| Total Costs of Acquiring Heat | k€ |  |  | 0 | -1901.5104 | -1497.141 | -1630.3997 | -1496.6363 | -1370.6967 | -1370.6967 | -1370.6967 | -1370.6967 | -1370.6967 | -1370.6967
| OPEX | k€ |  |  | 0 | -130.375 | -130.375 | -130.375 | -130.375 | -130.375 | -130.375 | -130.375 | -130.375 | -130.375 | -130.375
| Grid Connection Costs | k€ |  |  | 0 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10
| OPEX | k€ |  |  | 0 | -2041.8854 | -1637.516 | -1770.7747 | -1637.0113 | -1511.0717 | -1511.0717 | -1511.0717 | -1511.0717 | -1511.0717 | -1511.0717
Revenues
| Heat Price | €/MWh |  |  | 56.0959 | 56.0959 | 44.1667 | 48.0979 | 44.1518 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365 | 40.4365
| Heat Sold | MWh |  |  | 0 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150 | 52150
| Revenues from Heat Sold | k€ |  |  | 0 | 2925.4007 | 2303.2939 | 2508.3072 | 2302.5173 | 2108.7642 | 2108.7642 | 2108.7642 | 2108.7642 | 2108.7642 | 2108.7642
| Grid Connection Costs | k€ |  |  | 0 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
| Power Revenue | k€ |  |  | 0 | 2931.4007 | 2309.2939 | 2514.3072 | 2308.5173 | 2114.7642 | 2114.7642 | 2114.7642 | 2114.7642 | 2114.7642 | 2114.7642
| Increase Revenue due to FIP | k€ |  |  | 0 | 438.8101 | 345.4941 | 376.2461 | 345.3776 | 316.3146 | 316.3146 | 316.3146 | 316.3146 | 316.3146 | 316.3146
| Revenues | k€ |  |  | 0 | 3370.2108 | 2654.788 | 2890.5533 | 2653.8949 | 2431.0788 | 2431.0788 | 2431.0788 | 2431.0788 | 2431.0788 | 2431.0788
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 3370.2108 | 2654.788 | 2890.5533 | 2653.8949 | 2431.0788 | 2431.0788 | 2431.0788 | 2431.0788 | 2431.0788 | 2431.0788
| OPEX | k€ |  |  | 0 | -2041.8854 | -1637.516 | -1770.7747 | -1637.0113 | -1511.0717 | -1511.0717 | -1511.0717 | -1511.0717 | -1511.0717 | -1511.0717
| CAPEX | k€ |  |  | 0: 0
| Net Cashflows (Real Flow) | k€ |  |  | 0 | 1328.3253 | 1017.2719 | 1119.7786 | 1016.8837 | 920.0071 | 920.0071 | 920.0071 | 920.0071 | 920.0071 | 920.0071
| Nominal Flow (EBITDA) | k€ |  |  | 0 | 1328.3253 | 1017.2719 | 1119.7786 | 1016.8837 | 920.0071 | 920.0071 | 920.0071 | 920.0071 | 920.0071 | 920.0071
| Depreciation | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EBIT (Taxable Income) | k€ |  |  | 0 | 1328.3253 | 1017.2719 | 1119.7786 | 1016.8837 | 920.0071 | 920.0071 | 920.0071 | 920.0071 | 920.0071 | 920.0071
| Payable Taxes | k€ |  |  |  | -318.7981 | -244.1453 | -268.7469 | -244.0521 | -220.8017 | -220.8017 | -220.8017 | -220.8017 | -220.8017 | -220.8017
| Free Cashflows | k€ |  |  | 0 | 1009.5273 | 773.1267 | 851.0318 | 772.8316 | 699.2054 | 699.2054 | 699.2054 | 699.2054 | 699.2054 | 699.2054
| Discounted Cashflows | k€ |  |  | 0 | 925.4518 | 649.7139 | 655.6213 | 545.7929 | 452.6719 | 414.9725 | 380.4128 | 348.7312 | 319.6882 | 293.0639
| Cumulated Discounted Cashflow | k€ |  |  | 0 | 925.4518 | 1575.1657 | 2230.787 | 2776.5799 | 3229.2518 | 3644.2243 | 4024.6371 | 4373.3683 | 4693.0565 | 4986.1204
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 7601.7496
| NPV (From Discounted Cashflows) | k€ | 4986.1204
2522.6748
IRR
| IRR via Goal Seek | % | 30.26%
Avg Yearly DCF
| Average yearly DCF | k€ | 498.612
| DCF/MWh | €/MWh | 9.5611

## SUMMARY
| Industry |  |  |  |  | DHO
| BASE | FIP | FIC | COMBO |  | BASE | FIP | FIC | COMBO
NPV | 0.96375 | 11.0356 | 25.9837 | 40.372 | AVG y DCF | 0 | 0 | 0.87474 | 2.3136
IRR | 9.647% | 0.15245 | 0.25761 | 0.34195 | 10yDCF | 0 | 0 | 8.7474 | 23.1357
PBT | 10.1781 | 7.2563 | 4.7448 | 3.7205
| FIP | FIC
| PBT | AVG y DCF
5% | 4.34 | 1.83
10% | 4.01 | 2.07
15% | 3.7205 | 2.3136
20% | 3.49 | 2.56
25% | 3.3 | 2.8

## Financial Model
Financial Model - BP
Manufacturing Industries and Energy Communities STEP 1
Inputs
Inputs from MESS
| Heat Delivered from DH to X1 | 66458.514 | kWh/y
| Heat Delivered from DH to X2 | 63330.169 | kWh/y
| Heat Delivered from DH to X3 | 180689.935 | kWh/y
| Total Heat Delivered from DH | 310478.618 | kWh/y
Financial Data Industry |  |  |  | Source
| Cost of Equity | 10.7% |  | Damodoran
| Cost of Debt | 6.05% |  | Damodoran
| E/V | 73.53% |  | Damodoran
| D/V | 26.47% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 9.085% | per year
| Corporate Tax Rate | 24%
Financial Data DH Operator |  |  |  | Source
| Cost of Equity | 8.94% |  | Damodoran
| Cost of Debt | 5.75% |  | Damodoran
| E/V | 52.65% |  | Damodoran
| D/V | 47.35% |  | Damodoran
| Td | 24% |  | Damodoran
| WACC | 6.776% | per year
| Corporate Tax Rate | 24%
General Input Data |  |  |  | Source
| Lifetime | 10 | years
| Needed Installed Capacity | 72.3322 | kW
| Installed Capacity Heat Exchanger | 94 | kW
| Installed Capacity Heat Exchanger | 90 | kW
| Full Load Hours | 6132 | hours/year
| Heat Delivered to Energy Community | 310478.618 | kWh/year
| Heat Production | 443.5409 | MWh/year
CAPEX & OPEX Data |  |  |  | Source
| Total CAPEX | 310 | €/kW
| - o/w Heat Exchanger | 90 | €/kW | Saini et al.
| - o/w Mechanical and Hydraulic Connection | 105 | €/kW
| - o/w Power Supply | 45 | €/kW
| - o/w Cabling | 35 | €/kW
| - o/w Commissioning | 35 | €/kW
| Contingencies | 10% | -
| Total CAPEX | 30.69 | k€
| Original Cost of Grid Connection & Heat Transport | 10 | k€/year | GSE
| Cost of Grid Connection & Heat Transport | 0 | k€/year | GSE
| Fixed OPEX | 3.5 | €/kW/year | Saini et al.
| OPEX | 2.5 | €/MWh | Saini et al.
Price Data |  |  |  | Source
| Average District Heating Price Year 0 | 0.06451 | €/kWh
| FIP | 0.15
| Average Electricity Price | 0.304 | €/kWh |  | 0.038889
| Support on Connection Costs | 60%
| Share of Heat to other industries | 30%
| Heat to other industries | 133.0623 | MWh/year
| Price increase to other industries | 0%
| Reduction of Heat Price when selling to DH Operator | 35%
Price Evolution
[5 empty] | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
| Electricity Prices EU | 116.125 | €/MWh | IEA | 281.375 | 116.125 | 82 | 84.875 | 77.9116 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554 | 71.3554
| Price Evolution | 304 | €/MWh |  | 304 | 125.4625 | 88.5935 | 91.6997 | 84.1763 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093 | 77.093
| TTF Natural Gas Prices | 37.671 | €/MWh | TTF | 138.075 | 37.671 | 29.66 | 32.3 | 29.65 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155 | 27.155
| Average Heat Price | 64.5103 | €/MWh |  | 64.5103 | 64.5103 | 50.7917 | 55.3126 | 50.7746 | 46.502 | 46.502 | 46.502 | 46.502 | 46.502 | 46.502
Scenarios
| FIP VALUE | 15%
| FIC VALUE | 60%
| Scenario Selection | COMBO
Calculations Industry
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Revenue
| Heat Price | €/MWh |  |  | 41.9317 | 41.9317 | 33.0146 | 35.9532 | 33.0035 | 30.2263 | 30.2263 | 30.2263 | 30.2263 | 30.2263 | 30.2263
| Heat Price to Other Industries | €/MWh |  |  | 41.9317 | 41.9317 | 33.0146 | 35.9532 | 33.0035 | 30.2263 | 30.2263 | 30.2263 | 30.2263 | 30.2263 | 30.2263
| Heat to Other Industries | MWh |  |  |  | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623 | 133.0623
| Heat To District Heating | MWh |  |  |  | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786 | 310.4786
| Power Revenue | k€ |  |  | 0 | 18.5984 | 14.6433 | 15.9467 | 14.6384 | 13.4066 | 13.4066 | 13.4066 | 13.4066 | 13.4066 | 13.4066
OPEX
| O&M Cost | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
| Grid Connection Costs | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OPEX | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | 18.5984 | 14.6433 | 15.9467 | 14.6384 | 13.4066 | 13.4066 | 13.4066 | 13.4066 | 13.4066 | 13.4066
| OPEX | k€ |  |  | -0.329 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379 | -1.4379
| CAPEX | k€ |  |  | 0: -30.69
| Net Cashflows (Real Flow) | k€ |  |  | -31.019 | 17.1606 | 13.2055 | 14.5089 | 13.2005 | 11.9687 | 11.9687 | 11.9687 | 11.9687 | 11.9687 | 11.9687
| Nominal Flow (EBITDA) | k€ |  |  | -31.019 | 17.1606 | 13.2055 | 14.5089 | 13.2005 | 11.9687 | 11.9687 | 11.9687 | 11.9687 | 11.9687 | 11.9687
| Depreciation | k€ |  |  | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069 | -3.069
| EBIT (Taxable Income) | k€ |  |  | -34.088 | 14.0916 | 10.1365 | 11.4399 | 10.1315 | 8.8997 | 8.8997 | 8.8997 | 8.8997 | 8.8997 | 8.8997
| Payable Taxes | k€ |  |  |  | -3.382 | -2.4328 | -2.7456 | -2.4316 | -2.1359 | -2.1359 | -2.1359 | -2.1359 | -2.1359 | -2.1359
| Free Cashflows | k€ |  |  | -34.088 | 13.7786 | 10.7727 | 11.7633 | 10.769 | 9.8328 | 9.8328 | 9.8328 | 9.8328 | 9.8328 | 9.8328
| Discounted Cashflows | k€ |  |  | -34.088 | 12.6311 | 9.0531 | 9.0623 | 7.6053 | 6.3658 | 5.8357 | 5.3497 | 4.9041 | 4.4957 | 4.1213
| Cumulated Discounted Cashflow | k€ |  |  | -34.088 | -21.4569 | -12.4038 | -3.3416 | 4.2637 | 10.6296 | 16.4653 | 21.815 | 26.7191 | 31.2148 | 35.3361
[5 empty] | 0.58333 | 1 | 1 | 1 | 0.43937 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 35.3361
| NPV (From Discounted Cashflows) | k€ | 35.3361
33.7491
IRR
| IRR via Goal Seek | % | 9.647%
PB
| Pay Back Time | years | 4.0227
Calculations District Heating Operator
|  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
OPEX & Costs
| Heat Price | €/MWh |  |  | 35.6419 | 35.6419 | 28.0624 | 30.5602 | 28.053 | 25.6923 | 25.6923 | 25.6923 | 25.6923 | 25.6923 | 25.6923
| Heat acquired from industry | MWh |  |  | 0 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Total Costs of Acquiring Heat | k€ |  |  | 0 | -15.8087 | -12.4468 | -13.5547 | -12.4426 | -11.3956 | -11.3956 | -11.3956 | -11.3956 | -11.3956 | -11.3956
| OPEX | k€ |  |  | 0 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089 | -1.1089
| Grid Connection Costs | k€ |  |  | 0 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10
| OPEX | k€ |  |  | 0 | -26.9175 | -23.5557 | -24.6636 | -23.5515 | -22.5045 | -22.5045 | -22.5045 | -22.5045 | -22.5045 | -22.5045
Revenues
| Heat Price | €/MWh |  |  | 64.5103 | 64.5103 | 50.7917 | 55.3126 | 50.7746 | 46.502 | 46.502 | 46.502 | 46.502 | 46.502 | 46.502
| Heat Sold | MWh |  |  | 0 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409 | 443.5409
| Revenues from Heat Sold | k€ |  |  | 0 | 28.6129 | 22.5282 | 24.5334 | 22.5206 | 20.6255 | 20.6255 | 20.6255 | 20.6255 | 20.6255 | 20.6255
| Grid Connection Costs | k€ |  |  | 0 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
| Power Revenue | k€ |  |  | 0 | 34.6129 | 28.5282 | 30.5334 | 28.5206 | 26.6255 | 26.6255 | 26.6255 | 26.6255 | 26.6255 | 26.6255
Cash Flow Calculations |  |  | Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Revenue | k€ |  |  | 0 | -26.9175 | -23.5557 | -24.6636 | -23.5515 | -22.5045 | -22.5045 | -22.5045 | -22.5045 | -22.5045 | -22.5045
| OPEX | k€ |  |  | 0 | 34.6129 | 28.5282 | 30.5334 | 28.5206 | 26.6255 | 26.6255 | 26.6255 | 26.6255 | 26.6255 | 26.6255
| CAPEX | k€ |  |  | 0: 0
| Net Cashflows (Real Flow) | k€ |  |  | 0 | 7.6954 | 4.9725 | 5.8698 | 4.9691 | 4.1211 | 4.1211 | 4.1211 | 4.1211 | 4.1211 | 4.1211
| Nominal Flow (EBITDA) | k€ |  |  | 0 | 7.6954 | 4.9725 | 5.8698 | 4.9691 | 4.1211 | 4.1211 | 4.1211 | 4.1211 | 4.1211 | 4.1211
| Depreciation | k€ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EBIT (Taxable Income) | k€ |  |  | 0 | 7.6954 | 4.9725 | 5.8698 | 4.9691 | 4.1211 | 4.1211 | 4.1211 | 4.1211 | 4.1211 | 4.1211
| Payable Taxes | k€ |  |  |  | -1.8469 | -1.1934 | -1.4088 | -1.1926 | -0.98906 | -0.98906 | -0.98906 | -0.98906 | -0.98906 | -0.98906
| Free Cashflows | k€ |  |  | 0 | 5.8485 | 3.7791 | 4.4611 | 3.7765 | 3.132 | 3.132 | 3.132 | 3.132 | 3.132 | 3.132
| Discounted Cashflows | k€ |  |  | 0 | 5.3615 | 3.1759 | 3.4367 | 2.6671 | 2.0277 | 1.8588 | 1.704 | 1.5621 | 1.432 | 1.3127
| Cumulated Discounted Cashflow | k€ |  |  | 0 | 5.3615 | 8.5373 | 11.9741 | 14.6411 | 16.6688 | 18.5277 | 20.2317 | 21.7938 | 23.2258 | 24.5385
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV
| NPV Function | k€ | 36.6574
| NPV (From Discounted Cashflows) | k€ | 24.5385
12.9076
IRR
| IRR via Goal Seek | % | 30.26%
Avg Yearly DCF
| Average yearly DCF | k€ | 2.4539
| DCF/MWh | €/MWh | 5.5324